NeXus scientific data format:
Introduction and applications
erhtjhtyhy
Pete R. Jemian, group leader
www.nexusformat.org
Beamline Controls & Data Acquisition Group
Advanced Photon Source, USA
Könnecke et al., J Appl Cryst 48.1 (2015) 301–305, 10.1107/S1600576714027575
2017-08-25
This work was supported in part by the U.S. Department of Energy, Office of Science, under Contract No. DE-AC-02-06CH11357.

---
A few things to know about NeXus
Uses HDF5 as file format: https://www.hdfgroup.org
NeXus is a common data format for neutron, x-ray, and muon science.
HDF5 is a hierarchical format:
components: groups, datasets, attributes, links
NeXus
Defines the layout of information in an HDF5 file
Uses the HDF5 group structure to organize data
Provides a dictionary of common terms
NeXus application definitions can further define
terms and layout specific to a scientific community
for the exchange of data
Basic NeXus structure
NeXus HDF5 data file
  NXentry
    NXdata
      # datasets
    NXinstrument # optional
      # raw data structures
    NXsample # optional
      # sample metadata
    # other metadata
J. Appl. Cryst. (2015). 48, 301-305
https://doi.org/10.1107/S1600576714027575

---
Overview
- Introduction to NeXus
  - Components
  - Design Principles
  - Data Storage Objects
  - Programs that read / write NeXus files
- Examples
- NeXus International Advisory Committee (NIAC)
- Communications
How many variations of this common term?

---
Introduction
- NeXus is an effort by an international group of scientists
- Started in 1995
- common data exchange format for neutron, X-ray, and muon experiments
- built on top of the scientific data format HDF5 (hdfgroup.org)
- Purposes
  - raw data : any relevant data associated with a scientific instrument or beamline
  - processed data : structures for exchange of data between applications

---
The Components of NeXus
- Design Principles
  - group, field, attribute, link
- Data Storage Objects
  - base classes, application definitions, and contributed definitions
- Subroutines
  - NAPI, Python (and other) examples
- Scientific Community
  - you

---
NeXus Design Principles
- Group
- Field
- Attribute
- Link

---
NeXus Data Storage Objects
 written in NeXus Definition Language (NXDL)
base classes
A set of components that are used to construct a data file
Defines the set of terms that might be used in an instance of that class
application definitions
Specifies a data structure for a given domain, such as small-angle scattering
Defines the minimum set of terms that must be used
contributed definitions
Propositions from the community for base classes or application definitions
Other NXDL files for long-term archival by NeXus
Considered as either in incubation or a special case not for general use

---
A very simple NXDL file

---
Data Units
- NeXus uses the UDUNITS standard
  (http://www.unidata.ucar.edu/software/udunits)
  - Very flexible
  - Allows mathematical expressions such as g/cm^3
  - Supported by C library for programmatic conversion (also Python)
- Units appropriate to field: wavelength has NX_WAVELENGTH type units
- Units are not presently validated
  - But, there are plans to check them using the C library code

---
Programs that read & write NeXus files
 see: http://download.nexusformat.org/doc/html/utilities.html
- Anything that can read or write HDF5 files
- Data Analysis applications:
  - At least 14 (including IDL, Matlab, PyMCA, and NeXpy)
- Tools from the HDF Group (hdfgroup.org): HDFview, h5dump, …
- Python package: h5py
- NeXus command-line utilities (from https://github.com/nexusformat/code)
- Validation of NeXus files: cnxvalidate & punx

---
Examples

---
NeXus raw data file structure
HDF5 file
  NXentry
    NXinstrument
      NXsource
      NXcollimator
      NXattenuator
      NXdetector
      ...
    NXsample
    NXmonitor
    NXuser
    NXdata
  NXentry
- NXentry: data belonging to one run or scan
- NXinstrument: data that describes the instrument
- NXmonitor: incident intensity
- NXsample: all about the sample
- NXuser: all about the sample
- NXdata: (typically) links to plottable data
Only NXentry and NXdata are required

---
Structure of a NeXus processed data file

---
cs_af1410.h5 : NeXus data file
  @creator = xml2hdf5.py
  @default = AF1410_10
  AF1410_10:NXentry
    AF1410_a10:NXdata
      I:NX_FLOAT64[77]
      Idev:NX_FLOAT64[77]
      Q:NX_FLOAT64[77]
    AF1410_b10:NXdata
      I:NX_FLOAT64[76]
      Idev:NX_FLOAT64[76]
      Q:NX_FLOAT64[76]
    sasinstrument:NXinstrument
      sascollimation:NXcollimator
      sasdetector:NXdetector
      sassource:NXsource
    sassample:NXsample
  AF1410_1h:NXentry
    AF1410_a1h:NXdata
    AF1410_b1h:NXdata
  AF1410_20:NXentry
  AF1410_2h:NXentry
  AF1410_50:NXentry
  AF1410_5h:NXentry
  AF1410_8h:NXentry
  AF1410_cc:NXentry
  AF1410_hf:NXentry
  AF1410_qu:NXentry
Example: many samples
AF1410 steel
10 samples (aging series)
two (NIST) SANS each sample
Steel sample, aging series
Area detector image at each aging time
Binned in horizontal & vertical sectors
1-D I(Q) have different lengths
(lots of other metadata in example file)
file: cs_af1410.h5
https://github.com/canSAS-org/NXcanSAS_examples/tree/master/1d_standard
Acta Metall 41 (1993) 1869-1884

---
Example: multi-dimensional data
AF1410 steel SANS as multi-D
The AF1410 data might be re-written as a multi-dimensional data structure:
Sector angle (nuclear v. nuclear+magnetic scattering)
Aging time
Q
The SANS data would need to be binned to the same Q steps
Eliminates extra structure:
1 NXentry group remains
1 NXdata group remains
Could include sector_angle and/or aging_time in the analysis model
cs_af1410_multi.h5 : NeXus data file
  @creator = "hypothetical example"
  @default = AF1410
  AF1410:NXentry
    @default = AF1410
    AF1410:NXdata
      @signal = I
      @I_axes = Q
      @Q_indices = 2
      @aging_time_indices = 0
      @sector_angle_indices = 1
      I:NX_FLOAT64[10, 2, 77]
      Idev:NX_FLOAT64[10, 2, 77]
      Q:NX_FLOAT64[77]
      aging_time:NX_FLOAT64[10] = [0, .25,
        0.5, 1, 2, 5, 8, 10, 20 50, 100]
        @units = h
      sector_angle:NX_FLOAT64[2] = [0, 90]
        @units = degrees
    sasinstrument:NXinstrument
      sascollimation:NXcollimator
      sasdetector:NXdetector
      sassource:NXsource
    sassample:NXsample

---
Example: multi-modal data
NeXus structure is flexible
describe many sets of measurements
Use data groups under a single entry group if from the same sample
(Sample and wavelength data not shown for brevity)
Or, use application definitions
2-D SAS/WAS images
sas-was-example.h5 : NeXus data file
  @canSAS_class = "SASroot"
  entry:NXentry
    @canSAS_class = "SASentry"
    sasdata:NXdata
      @canSAS_class = "SASdata"
      @I_axes = Q, Q
      @Q_indices = 0, 1
      @signal = I
      I:NX_FLOAT64[100,512]
      Qx:NX_FLOAT64[100,512]
      Qy:NX_FLOAT64[100,512]
      Qz:NX_FLOAT64[100,512]
    wasdata:NXdata
      @I_axes = Q, Q
      @Q_indices = 0, 1
      @signal = I
      I:NX_FLOAT64[256,256]
      Q_x:NX_FLOAT64[256,256]
      Q_y:NX_FLOAT64[256,256]
      Q_z:NX_FLOAT64[256,256]

---
Examples: How to describe uncertainty
These values are the estimates of uncertainty.
By default, assumed as estimated standard deviation, but could specify as other
Can be added to any dataset (NeXus calls this a field) with an attribute:
Exact name of uncertainty dataset is flexible
simple uncertainty
uncertainty from multiple sources
I:NX_FLOAT64[91]
  @units = 1/cm
  @uncertainties = Iesd
Iesd:NX_FLOAT64[91]
  @units = 1/cm
Q:NX_FLOAT64[91]
  @units = 1/nm
  @resolutions = Qdev
Qdev:NX_FLOAT64[91]
  @units = 1/nm
I : float[m,n]
  @uncertainties=Idev
Idev : float[m,n]
 @components=I_uncertainties
I_uncertainties : (group)
 electronic : float[m,n]
  @basis="Johnson noise"
 counting_statistics : float[m,n]
  @basis="shot noise"
 secondary_standard : float[m,n]
  @basis="esd"

---
Example: metadata
Rich metadata can be added, but is optional
 sassample:NXsample
      @NX_class = NXsample
      @canSAS_name = sassample
      @canSAS_class = SASsample
      ID:NX_CHAR[34] = AF1410-10 (AF1410 steel aged 10 h)
      details:NX_CHAR[128] =
        transverse saturation magnetic field (1.6 T) applied in
        horizontal direction to clear magnetic domain scattering
 sasinstrument:NXinstrument
      sascollimation:NXcollimator
      sasdetector:NXdetector
      sassource:NXsource
        incident_wavelength:NX_FLOAT64 = 0.85
        @units = nm
        radiation:NX_CHAR[7] = neutron
        wavelength_spread:NX_FLOAT64 = 25.0
        @units = percent

---
Example: metadata
 sasnote:NXnote
      citation:NXcollection
        @NX_class = NXcollection
        @canSAS_name = citation
        @tag = citation
        journal:NX_CHAR[11] = Acta Metall
        @tag = journal
        pages:NX_CHAR[9] = 1869-1884
        @tag = pages
        title:NX_CHAR[92] = Small-Angle Neutron Scattering
        Studies of Carbide Precipitation in
        Ultrahigh-Strength Steels
        @tag = title
        volume:NX_CHAR[2] = 41
        @tag = volume
        year:NX_CHAR[4] = 1993
        @tag = year
        authors:NXcollection
        @NX_class = NXcollection
        @canSAS_name = authors
        @tag = authors
        author_0:NX_CHAR[10] = A.J. Allen
        @tag = author
        author_1:NX_CHAR[11] = D. Gavillet
        @tag = author
        author_2:NX_CHAR[13] = J.R. Weertman
        @tag = author
citation
NeXus provides the NXnote to describe any additional freeform information not covered by the other base classes
These tags and attributes were supplied ad hoc

---
NeXus International Advisory Committee
 http://www.nexusformat.org/NIAC.html
Terms of Reference
The purpose of the NeXus International Advisory Committee is to supervise the development and maintenance of the NeXus common data format for neutron, x-ray, and muon science.
How to contact the NIAC
Send an email to: nexus-committee@nexusformat.org
Membership
NIAC seeks a balanced representation of the international community. It will consist of at most one voting representative from each major neutron, synchrotron x-ray, and muon facility.
The NIAC invites PSL-II to become a member.

---
Communications
Mailing lists
See: http://download.nexusformat.org/doc/html/mailinglist.html
Bi-weekly teleconferences
Discuss timely issues: http://www.nexusformat.org/Teleconferences.html
Next one: Tuesday, 12 September, 16:30 CEST (+0200)
NeXus Code Camp
Approximately yearly, next one October 24-26, 2017, Diamond Light Source, UK
NIAC Meeting
Every two years, next one 2018, location not decided yet

---
Who uses NeXus?
 this is a partial list
- EPICS Area Detector HDF5 Plugin
- Facilities that use NeXus as a primary data format (2015 report):
  - Soleil, Diamond, SINQ, SNS, Lujan/LANL, and KEK
- Facilities that include NeXus as part of their file suite (2015 report):
  - APS, DESY, ISIS, LBNL, and the μSR community

---
Thank you for your attention.

---
Slide

---
Slide

---
Slide